GE Profile™ Professional Smart Valve Water Softener 55,000 Grain Capacity (PNPR55W) - Specifications

ACCESSORIES
- Installation Kit: Pro Kit Included
- Optional Outdoor Cover Accessory: ODCOVSFT

APPEARANCE
- Color Appearance: Black
- Installation: Indoor/Outdoor

CAPACITY
- Capacity (grains): 55,000 gr

FEATURES
- Audible Alarm: Yes
- Bypass Valve: Metal
- Connected Features: Leak Detection
- Connected Features: Daily Water Usage & Water Flow Monitoring
- Connected Features: Remote Water Shutoff (External Valve)
- Connected Features: Low Salt Reminders
- Connected Features: Vacation Mode
- Control Type: Electronic
- Control Type: Cap Touch
- Custom Select Blending Valve: Yes
- Efficiency (grains per lb.-salt): 5088 (estimated)
- Indicator Lights: Days to Empty
- Indicator Lights: Low Salt
- Indicator Lights: Status Light
- Indicator Lights: Salt Saver Button/Light
- LED Display: Yes
- Max. Clear Water Iron Reduction (ppm): 3 (estimated)
- Max. Hardness Removal (gpg): 165 (estimated)
- NSF Certified: Yes
- Operation Water Pressure (psi): 20-125
- Permanent Settings Memory: Yes
- Plumbing Connection / Pipe Size In & Out (in.): Up to 1-1/4
- Product Type: Water Softeners
- Regeneration Time (min.): 148 to 246 (estimated)
- Resin Filter Type: Standard Mesh
- Resin Quantity (cu.ft.): 1.8 (estimated)
- Resin Tank Size (in.): 10 Diameter x 44 Height (estimated)
- Salt Saver Button/Light: Yes
- Salt Storage Capacity: 325 lb (estimated)
- Screen: 4.5"
- Sediment Filter: Yes
- Service Flow Rate (at 15 psi drop): 9.5 (estimated)
- System Monitor: Advanced
- Type: Electronic-Demand Driven
- Valve Type: 1" NPT High Flow
- WiFi Connect: Built-In

POWER / RATINGS
- Electronic Rating: 12V; 60Hz, 120V AC Power adapter included

WARRANTY
- Labor Warranty: Limited 1-year entire appliance
- Parts Warranty: Limited 1-year entire appliance
- Parts Warranty: Limited 3-Year Electronic Monitor
- Parts Warranty: Limited 10-year brine/resin tank
- Warranty Notes: See written warranty for full details

WEIGHTS & DIMENSIONS
- Approximate Shipping Weight: 235 lb (estimated)
- Brine Tank Height: 37 in (estimated)
- Brine Tank Width/Depth: 17.5 in (estimated)
- Net Weight: 220 lb (estimated)
- Overall Height: 49.25 in (estimated)

ADDITIONAL NOTES
- Plumbing Connections: 1" NPT metal plumbing connections with dual O-ring seals
- Plumbing Connections: Includes 1" connectors compatible with 3/4" and 1 1/4" plumbing
- Smart Features: WiFi-enabled for real-time feedback, performance optimization, alerts, leak detection, remote water shutoff, water flow monitoring, and low salt reminders
- Design: Heavy-duty with durable metal fittings
- Design: Outdoor-rated with optional protective cover
- Status: Possibly no longer manufactured
- Certifications: Includes warnings per www.P65Warnings.ca.gov
- Support: Contact 1-800-943-8186
- Support: Product registration available
- Support: Genuine GE Appliances parts and accessories available
- Availability: May vary by ZIP code; check with local retailers
