GE Profile™ Professional Smart Valve Water Softener 55,000 Grain Capacity (PNPR55W) - Specifications

ACCESSORIES

- Installation Kit: Pro Kit Included

- Optional Outdoor Cover Accessory: ODCOVSFT

APPEARANCE

- Color Appearance: Black

- Installation: Indoor/Outdoor

CAPACITY

- Capacity (grains): 55,000 gr

FEATURES

- Audible Alarm: Yes

- Bypass Valve: Metal

- Connected Features: Leak Detection

- Connected Features: Daily Water Usage & Water Flow Monitoring

- Connected Features: Remote Water Shutoff (External Valve)

- Connected Features: Low Salt Reminders

- Connected Features: Vacation Mode

- Control Type: Electronic

- Control Type: Cap Touch

- Custom Select Blending Valve: Yes

- Efficiency (grains per lb.-salt): 5088 (estimated)

- Indicator Lights: Days to Empty

- Indicator Lights: Low Salt

- Indicator Lights: Status Light

- Indicator Lights: Salt Saver Button/Light

- LED Display: Yes

- Max. Clear Water Iron Reduction (ppm): 3 (estimated)

- Max. Hardness Removal (gpg): 165 (estimated)

- NSF Certified: Yes

- Operation Water Pressure (psi): 20-125

- Permanent Settings Memory: Yes

- Plumbing Connection / Pipe Size In & Out (in.): Up to 1-1/4

- Product Type: Water Softeners

- Regeneration Time (min.): 148 to 246 (estimated)

- Resin Filter Type: Standard Mesh

- Resin Quantity (cu.ft.): 1.8 (estimated)

- Resin Tank Size (in.): 10 Diameter x 44 Height (estimated)

- Salt Saver Button/Light: Yes

- Salt Storage Capacity: 325 lb (estimated)

- Screen: 4.5"

- Sediment Filter: Yes

- Service Flow Rate (at 15 psi drop): 9.5 (estimated)

- System Monitor: Advanced

- Type: Electronic-Demand Driven

- Valve Type: 1" NPT High Flow

- WiFi Connect: Built-In

POWER / RATINGS

- Electronic Rating: 12V; 60Hz, 120V AC Power adapter included

WARRANTY

- Labor Warranty: Limited 1-year entire appliance

- Parts Warranty: Limited 1-year entire appliance

- Parts Warranty: Limited 3-Year Electronic Monitor

- Parts Warranty: Limited 10-year brine/resin tank

- Warranty Notes: See written warranty for full details

WEIGHTS & DIMENSIONS

- Approximate Shipping Weight: 235 lb (estimated)

- Brine Tank Height: 37 in (estimated)

- Brine Tank Width/Depth: 17.5 in (estimated)

- Net Weight: 220 lb (estimated)

- Overall Height: 49.25 in (estimated)

ADDITIONAL NOTES

- Plumbing Connections: 1" NPT metal plumbing connections with dual O-ring seals

- Plumbing Connections: Includes 1" connectors compatible with 3/4" and 1 1/4" plumbing

- Smart Features: WiFi-enabled for real-time feedback, performance optimization, alerts, leak detection, remote water shutoff, water flow monitoring, and low salt reminders

- Design: Heavy-duty with durable metal fittings

- Design: Outdoor-rated with optional protective cover

- Status: Possibly no longer manufactured

- Certifications: Includes warnings per www.P65Warnings.ca.gov

- Support: Contact 1-800-943-8186

- Support: Product registration available

- Support: Genuine GE Appliances parts and accessories available

- Availability: May vary by ZIP code; check with local retailers